| Design Stage Risk Register (HSI-12) |
| --- |
| Guidance After identification of the hazards on site, this template is to be used to record and manage risks associated with the project. Its purpose being to eliminate, reduce or control foreseeable risks that may arise during construction. This will assist the principal contractor in helping them plan, manage, monitor and coordinate health and safety during the construction phase. This is a LIVE document and must be subject to regular review throughout the lifecycle of the project records of which should be retained and readily retrievable. Note: the information provided will be relevant to the scale and complexity of the project: |
| Project Title: |  | Project Manager: |  |
| Project Reference: |  | Principal Designer: |  |
| Date: |  | Principal Contractor: |  |

Design Risk Register (refer to schedule 3 of the CDM 2015 regulations work involving particular risk always taking in to account the operability and ongoing maintenance of the asset throughout the design process, plus ensuring that all pre-construction information has been gathered from all parties concerned within the project.

| Activity | Hazard | Hazard location | Eliminated Y/N | Principles of prevention | Principal designer and or designers Information/comments |
| --- | --- | --- | --- | --- | --- |
| List the activities that give rise to hazards during the construction, use, maintenance and demolition of the structure. | Identify the hazards from the activity. A hazard is anything with the potential to cause injury or health damage to any person during the construction, use, maintenance and demolition of the structure. | Identify when and where during the project the hazard will be present and who the hazard could affect. |  | Show how the general principles of prevention been applied | Has the risk been mitigated or do hazards still exist that need to be addressed prior to construction |
| EXAMPLE Internal maintenance and inspection of chemical storage tank | Access required to confined space of tank | Operation and maintenance | N | Tank choice requires minimal maintenance Reduce access required by provision of Internal monitors. Remove working at height by putting access hatch at base of silo and allow monitors to be read from ground level | Chemical Data sheets for chemical being stored Flow isolation points identified |

Document Control

| Distribution: hard/soft copy |
| --- |
| Prepared By | Name | Position | Date |
| Distributed to | Name | Position | Date |

| Version Control: hard/soft copy |
| --- |
| Version | date Issued | Summary of change | Produced /Revised by |

The latest version of this document can be located at <insert location here>