| Initial Project Requirements Information (HSI-30) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - This template is to be used to set out general requirements of the project. As the client we have a duty for providing clear instruction to all of those involved, which is essential to the success of the project and keeping everyone involved safe. - Note: the information provided will be relevant to the scale and complexity of the project: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contract name: |  |  |  |  |  |  |  | Works/Purchase order reference: |  |  |  |  |  |  |
| Site Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Postcode: |  |  |  |  |  |  |  | what3words: |  |  |  |  |  |  |
| Start date: |  |  |  |  |  |  |  | End date : |  |  |  |  |  |  |
| Existing site information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| <Include here a high level description> as an example xxx STW has 4 x blowers feeding stage 2 aeration. Currently the units are fed from 250 amp switched isolators which feed stand-alone VFD drives locally at the blowers. These drives then speed up/slow down the units. The blowers currently operate on a 4-20mAmp which run from a DH+ Legacy PLC. The current blowers are 90kw, with the new units 115kw. FLC on the new units 186 amps and maximum operating current is 230amps. Also consider whether the site has any existing Environmental permits that may be impacted by the proposed scope of works |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Scope of works / supply |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| <Include here what is going to be done> as an example -Design and cable calculations, including responsibility of cable Runs -Modify existing feeders to be fused at 250Amp -Remove existing LCP’s -Install new Supply cables to suit 115kw blowers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Control Philosophy, Instrumentation, Alarms & SCADA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| <Include here what is going to be done> as an example -Upgrade Scada mimic to suit new blowers -Alarm integration to Scada for each blower |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Testing, Commissioning and Training |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| <Include here what is going to be done> as an example -Electrical Testing end to end of above -Full training provided to ICA for new PLC and operations for control and mimics |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| <Include here what documents will be required and updated> as an example All works to include ‘as constructed’ drawings of the installation and O&M documents for all supplied equipment. This should be supplied in 2 hard copies and 1 digital copy. Additionally the work will require the following marked items with an “X” below to be updated. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TW Asset drawings |  |  |  | Specified existing Civils Drawings |  |  |  |  |  |  |  |  | Other (specify below) |  |
| Asset register |  |  |  | Specified existing Electrical Drawings |  |  |  |  |  |  |  |  | Mechanical drawings of the new equipment |  |
| Site operating manual |  |  |  | NICEIC certificates |  |  |  |  |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Standards and codes of practice |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| <Include here what standards are applicable to the scope of works> as an example -Water Industry Mechanical and Electrical Specification (WIMES) -TW Assett standards -TW Electrical safety rules -TW Health and Safety Essential Standards |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Responsibilities |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| <Include here what the key responsibilities of the supplier are relevant to the scope of works> as an example Where Applicable to the Scope of Works, the supplier will be responsible for the Design and construction of Civil, Mechanical, Electrical and ICA engineering works associated with the supply of the items detailed in this brief. The supplier will also be responsible for the providing the items detailed marked with an ‘X’ below |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Project Management |  |  |  |  |  |  | Site compound & security (see Asset Protection section below) |  |  |  | Plant GA diagram – including site plan |  |  |  |
| Site supervision |  |  |  |  |  |  | Welfare facilities |  |  |  | Civil construction drawings plus reinforcement |  |  |  |
| Principle Designer (CDM) |  |  |  |  |  |  | Secure storage |  |  |  | Mechanical installation drawings |  |  |  |
| Principle Contractor (CDM) |  |  |  |  |  |  | Provision of plant, labour and equipment to complete installation |  |  |  | Electrical wiring and schematic diagrams |  |  |  |
| Development of Construction Phase Plan (CDM) |  |  |  |  |  |  | Provision of all materials |  |  |  | I/O schedules |  |  |  |
| Method statements/Risk assesments (All activities) |  |  |  |  |  |  | Offloading / positioning / fixing down equipment |  |  |  | Plant and equipment design and selection |  |  |  |
| Permits eg breaking ground/hot works etc |  |  |  |  |  |  | Removal from site any surplus materials |  |  |  | Equipment tagging & labelling |  |  |  |
| Traffic Management |  |  |  |  |  |  | Reporting incidents |  |  |  | Health & safety file update |  |  |  |
| Monitoring arrangements |  |  |  |  |  |  | Notifying TW if the project overruns |  |  |  | Handover arrangements |  |  |  |
| Other (please specify) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Asset Protection (Physical Security) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Advice must be sought from the Asset Protection Team: assetprotectionteam@thameswater.co.uk if the work involves any of the following: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Entrance/exit redesign |  |  |  |  |  | Access control systems |  |  |  | Manned guarding |  |  |  |  |  |
| New/replacement fencing |  |  |  |  |  | CCTV systems |  |  |  | Intruder detection systems |  |  |  |  |  |
| New/replacement gates |  |  |  |  |  | Key/lock suiting |  |  |  | Hatches, kiosks, doors |  |  |  |  |  |
| Other security requirements: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| - Prepared By | - Name | - Position | - Date |
| --- | --- | --- | --- |
| - Accepted By | - Name | - Position | - Date |

The latest version of this document can be located at <insert location here>