## Sheet1
Service Avoidance
Contractor Name: |  |  | Auditor:
On site contact: |  |  | Date:
Project name / code:
Location:
Guidance Notes:
Remember this audit is purely on Service Avoidance - There will be several other aspects of work involved in the activity.
• Where any excavation or breaking ground is occuring, service avoidance comes into play. It is essential that the dig team are trained, competent and using safe digging practices to avoid any known or unknown services.
• A Genny is a device that inducts a signal into underground services which then can be picked up via a CAT, a Genny is a small box and can either be connected to a pipe or can be placed on it's side to induct a signal into the ground.
• A CAT is a hand scanning device and has 3 modes, all 3 modes must be used when scanning for services.
• Prior to any excavation or ground breaking, the team must have utility drawings which will show any known services in the area.
• Surveys such as Ground Penetration Radar (GPR) may also be present which will give the team an idea of what's below the ground.
• It is important to know that drawings are just a guide and not 100% accurate and the team must not soley rely on them, therefore trial holes may be dug to identify high hazard services to prove or disprove the utility drawings and GPR.
• Once all known services have been positively identified it is important for the team to mark them up, this is done via coloured spray paint and is a visual reminder for the dig team.
• Even if there are no known services in the area, the dig team must rescan using the GEN & CAT at every 150mm dug, this is in accordance with Essential Standard 1 and HSG47 Safe Digging Practices.
• With regards to any machinary or equipment you will want to be looking for any defects and ensuring that it is in good condition, this will includes any hand tools, rotatory equipment and any mobile plant.
• Although it will not prevent a service strike, the dig team must be in Flame and Arc resistance PPE and using fully insulated dig tools.
| Questions | Compliant Y/N/NA? | Comments | Actions required
1 | Are the dig team in possession of TWUL Passport?
2 | Are personnnel who are using the detection equipment trained to Level 2 Gen and Cat?
3 | Are utility drawings on site and do they identify all known services? Water, Gas, Low Voltage, High Voltage, Telecomms (Virgin, BT)?
3a | Are the utility drawings readable and have they been accessed prior to work starting (documented on site or recorded on a tablet)
4 | Is the Gen and Cat calibrated and within date? (The onsite team should have a certificate to prove the calibration date), one for the Cat and one for the Genny
4a | Does the CAT & Genny meet TW minimum standards, ie CAT 4
4b | Is there evidence that all 3 modes have been used when scanning for services, either on site or on CAT manager
4c | Does the contractor monitor the gangs use of CAT & Genny and highlight any improvements / good practice
5 | Have any trial holes been undertaken to identify high hazard services? (Trial holes are small excavatios to prove or disprove a services depth)
5a | For a directional drill, has the depth of all services been adequatley recorded and is there written evidence for any assumptions made where a trial hole wasn’t undertaken (ie multiple house services)
6 | Do the site team have access to Thames Waters Essential Standard 1 and Health and Safety Guidance 47 (Safe Digging Practices)?
7 | Is there a Permit to break ground/Permit to dig in place prior to work commencing? (Check the date of the permit was issued, the duration of the permit and that it has been signed by relevant persons)
7a | Does the permit clearly identify hold points for issuing a permit to dig or drill ie CAT & Genny survey undertaken
8 | Have the dig team received a briefing on the works Method Statement and associated risks? (What are the control measures or mitigations in place for those hazards identified)
9 | Are known services clearly identified and marked up? (Different coloured Spray paint will be used to identify the direction of services). There must be a process for remarking as the paint fade or becomes unreadable
10 | Is there a non working supervisor overseeing the works/activity?
11 | If an excavator is being used to dig, has it had a daily inspection and can the associated paperwork be provided to confirm it has had it's plant checks?
11a | If an excavator is being used, is their a trained and competent banksman in place
Overall comments: